# BCG resuscitation and propagation

## Materials

| Item | Source |
| --- | --- |
| BCG-GFP or BCG-dsRed | BCG-GFP (OD600=0.9) Plasmids BCG-dsRed (OD600=0.7) |
| DifcoTM Middlebrook 7H9 Broth | BD (ref: 271310) |
| BBLTM Middlebrook ADC Enrichment | SLS (ref: 211887) |
| Tween-80 | Sigma-Aldrich (ref: P1754-500ML) |
| Glycerol | Sigma-Aldrich (ref: G2025-500ML) |
| Hygromycin B in PBS 50 mg/mL (1:1000) | Invitrogen (ref: 10687010) |
| 50 mL falcons | Corning (ref: 430290) |
| Spectrophotometer | Implen GmbH (model: OD600, Serial No: 1160) |
| Cuvettes | Fisher brand (ref: FB55147) |
| PFA 8% | Sigma-Aldrich (ref: 158127) |

## Risks & control measures

### Description of key risks

- Exposure to live BCG aerosols or splashes.

- Accidental puncture or cuts from needles, lancets, pipettes, or syringes.

### Summary of key control measures

- Wear gloves, a lab coat, and eye protection.

- Conduct BCG processing in a BSL-2 hood.

- Minimise the generation of aerosols by gentle handling and pipetting, and avoid vortexing BCG suspensions vigorously.

- Use aseptic techniques. Maintain sterile tools and surfaces, disinfect work areas before and after use with 70% ethanol.

- Dispose of liquid/bacterial waste by treating it with an appropriate laboratory detergent/disinfectant before disposal.

- Dispose of biohazardous waste in yellow bin bags, zip-tied closed, and sharps in sharp bins.

## Reagent preparation

7H9 media – warmed to 37°C

Makes 450ml  final volume is 500ml when 10% ADC added

On bench: In an autoclavable bottle, add:

- 2.35 g 7H9

- 450 mL dH2O

- 1 mL glycerol (final concentration in 500 mL = 0.2%)

- 0.25 mL Tween-80 (final concentration in 500 mL = 0.05%)

Autoclave at 121°C for 15 mins. Cool and store in the fridge.

In TC hood: At point of use:

- add 10% ADC (keep all reagents sterile).

- add Hygromycin B in PBS 50 mg/mL (1:1000, final concentration 50 µg/mL)

## Methods

#### Day 0 – Bacterial resuscitation and culture

Starter culture: thaw aliquot (1 mL) of mid-log phase BCG in a 37 °C water bath for 1-2 min.

- Inside a BSL2 hood.

Add BCG (1 mL) into a 50 mL tube (or any sealed, plastic, leak-proof container) with 4 mL (1/5 dilution) of 7H9 culture medium with 50 μg/mL hygromycin and incubate in a shaker at 37 °C, 180 rpm.

- NB: BCG stocks: logarithmic growth phase BCG cultures were mixed at 1:1 with 80% glycerol (final concentration = 40%) and frozen at -80°C.

#### Day 3/4

- Inside a BSL2 hood.

Using a spectrophotometer, measure OD600 of BCG cultures (first passage when OD600 ~ 0.8).

Discard 3.5 mL of culture and supplement with 3.5 mL fresh mycobacterial culture medium containing 50 μg/mL hygromycin (OD600 ~ 0.2).

Incubate in a shaker at 37 °C, 180 rpm.

#### Day 7

- Inside a BSL2 hood.

Measure OD600 of BCG cultures (second passage, OD600 ~ 0.8).

Discard 3.5 mL of culture and supplement with 3.5 mL of fresh mycobacteria culture medium containing 50 μg /mL hygromycin (OD600 ~ 0.2).

Incubate in a shaker at 37 °C, 180 rpm.

#### Day 10

- Inside a BSL2 hood.

Measure OD600, should be at the log growth phase, OD600 ~0.4-0.6, ready for preparation into a single cell suspension for infection.

- NB:

- For readings, if OD > 0.8, limit of linear range, dilute 1:10 for readings

- Use bacteria with five passages (P5) or fewer from the original culture to avoid genetic drift & mutations, and phenotypic changes.